## Information
This is the data I have collected and how I used it and what I used or think it can be used for:
Orange - Energy
Green - International Benchmarking
Light Blue - Ireland measurement
Pink - Economic Impact
Dark Blue - Societal Acceptance

## CSO DC Electricity Consumption
Year | Data Centre Electricity Consumption | Quaratic Trend | Other Customers Electricity Consumption | Total Electrcity Consumption | Unit
2015 | 1240 | 1171.4825 | 23360 | 24600 | GWh
2016 | 1482 | 1410.8476 | 23874 | 25356 | GWh
2017 | 1762 | 1749.5739 | 23963 | 25725 | GWh
2018 | 2182 | 2187.6615 | 24548 | 26730 | GWh
2019 | 2490 | 2725.1105 | 24015 | 26505 | GWh
2020 | 3030 | 3361.9207 | 24025 | 27056 | GWh
2021 | 4012 | 4098.0923 | 24493 | 28506 | GWh
2022 | 5273 | 4933.6252 | 24551 | 29824 | GWh
2023 | 6339 | 5868.5193 | 24242 | 30581 | GWh
2024 | 6973 | 6902.7748 | 24930 | 31903 | GWh
2025 | 7663 | 8036.3916 | 25324 | 32986 | GWh

## SEAI DC Demand Forecast
Year | Data Centre GWh Demand | Total National Demand | Unit
2021 | 4292.4 | 133907.5718 | GWh
2022 | 5264.76 | 139899.5147 | GWh
2023 | 6456.12 | 141020.9601 | GWh
2024 | 7779.46 | 144181.3962 | GWh
2025 | 9102.8 | 147401.2041 | GWh
2026 | 10069.64 | 149557.553 | GWh
2027 | 10827.72 | 151300.1625 | GWh
2028 | 11544.1333 | 153028.2522 | GWh
2029 | 12183.84 | 154499.7725 | GWh
2030 | 12832.3067 | 156070.1007 | GWh
2031 | 13344.88 | 157155.9103 | GWh
2032 | 13739.08 | 158074.3297 | GWh
2033 | 13889.08 | 158587.7802 | GWh
2034 | 14039.08 | 159103.6129 | GWh

## EirGrid Adequ Assess DC F4.1
Year | Historic (MVA) | Low (MVA) | Median (MVA) | High (MVA) | Contract Ramp (MVA) | Unit
2016 | 196.5 |  |  |  |  | MVA
2017 | 262 |  |  |  |  | MVA
2018 | 357.24 |  |  |  |  | MVA
2019 | 431.5 |  |  |  |  | MVA
2020 | 519.7759 |  |  |  |  | MVA
2021 | 600.1 |  |  |  |  | MVA
2022 | 733.5 |  |  |  |  | MVA
2023 | 867 |  |  |  |  | MVA
2024 |  | 959 | 959 | 959 | 1494 | MVA
2025 |  | 997 | 1082 | 1156 | 1720 | MVA
2026 |  | 1042 | 1209 | 1368 | 2114 | MVA
2027 |  | 1087 | 1307 | 1522 | 2156 | MVA
2028 |  | 1132 | 1396 | 1658 | 2221 | MVA
2029 |  | 1179 | 1486 | 1793 | 2328 | MVA
2030 |  | 1226 | 1577 | 1912 | 2366 | MVA
2031 |  | 1264 | 1659 | 2000 | 2373 | MVA
2032 |  | 1301 | 1727 | 2077 | 2373 | MVA
2033 |  | 1336 | 1788 | 2121 | 2373 | MVA
2034 |  | 1369 | 1831 | 2157 | 2373 | MVA
2035 |  | 1402 | 1870 | 2183 | 2373 | MVA

## BitPower Cumulative
Year | Data Centre Measure | Value | Unit
2019 | Built | 697.2 | MW
2019 | Under Construction |  | MW
2019 | Planning Granted |  | MW
2019 | Seeking Planning |  | MW
2019 | Built | 917.3 | MVA
2019 | Under Construction |  | MVA
2019 | Planning Granted |  | MVA
2019 | Seeking Planning |  | MVA
2019 | Built | 75 | Buildings
2019 | Under Construction |  | Buildings
2019 | Planning Granted |  | Buildings
2019 | Seeking Planning |  | Buildings
2020 | Built | 808.3 | MW
2020 | Under Construction |  | MW
2020 | Planning Granted |  | MW
2020 | Seeking Planning |  | MW
2020 | Built | 1065.8 | MVA
2020 | Under Construction |  | MVA
2020 | Planning Granted |  | MVA
2020 | Seeking Planning |  | MVA
2020 | Built | 80 | Buildings
2020 | Under Construction |  | Buildings
2020 | Planning Granted |  | Buildings
2020 | Seeking Planning |  | Buildings
2021 | Built | 928.3 | MW
2021 | Under Construction |  | MW
2021 | Planning Granted |  | MW
2021 | Seeking Planning |  | MW
2021 | Built | 1226.2 | MVA
2021 | Under Construction |  | MVA
2021 | Planning Granted |  | MVA
2021 | Seeking Planning |  | MVA
2021 | Built | 85 | Buildings
2021 | Under Construction |  | Buildings
2021 | Planning Granted |  | Buildings
2021 | Seeking Planning |  | Buildings
2021 | Built |  | MW
2021 | Under Construction |  | MW
2021 | Planning Granted |  | MW
2021 | Seeking Planning |  | MW
2022 | Built | 1086.3 | MVA
2022 | Under Construction |  | MVA
2022 | Planning Granted |  | MVA
2022 | Seeking Planning |  | MVA
2022 | Built | 1435.4 | Buildings
2022 | Under Construction |  | Buildings
2022 | Planning Granted |  | Buildings
2022 | Seeking Planning |  | Buildings
2022 | Built | 93 | MW
2022 | Under Construction |  | MW
2022 | Planning Granted |  | MW
2022 | Seeking Planning |  | MW
2023 | Built | 1222.1 | MVA
2023 | Under Construction | 7.7 | MVA
2023 | Planning Granted |  | MVA
2023 | Seeking Planning |  | MVA
2023 | Built | 1615 | Buildings
2023 | Under Construction | 10 | Buildings
2023 | Planning Granted |  | Buildings
2023 | Seeking Planning |  | Buildings
2023 | Built | 100 | MW
2023 | Under Construction | 1 | MW
2023 | Planning Granted |  | MW
2023 | Seeking Planning |  | MW
2024 | Built | 1304.7 | MVA
2024 | Under Construction | 147.1 | MVA
2024 | Planning Granted | 13.9 | MVA
2024 | Seeking Planning |  | MVA
2024 | Built | 1722.4 | Buildings
2024 | Under Construction | 58 | Buildings
2024 | Planning Granted | 18.1 | Buildings
2024 | Seeking Planning |  | Buildings
2024 | Built | 106 | MW
2024 | Under Construction | 6 | MW
2024 | Planning Granted | 2 | MW
2024 | Seeking Planning |  | MW
2025 | Built | 1320.7 | MVA
2025 | Under Construction | 176.6 | MVA
2025 | Planning Granted | 95.4 | MVA
2025 | Seeking Planning |  | MVA
2025 | Built | 1743.2 | Buildings
2025 | Under Construction | 193.6 | Buildings
2025 | Planning Granted | 125.8 | Buildings
2025 | Seeking Planning |  | Buildings
2025 | Built | 107 | MW
2025 | Under Construction | 8 | MW
2025 | Planning Granted | 5 | MW
2025 | Seeking Planning |  | MW
2026 | Built | 1320.7 | MVA
2026 | Under Construction | 176.6 | MVA
2026 | Planning Granted | 233.2 | MVA
2026 | Seeking Planning | 51.6 | MVA
2026 | Built | 1743.2 | Buildings
2026 | Under Construction | 231.9 | Buildings
2026 | Planning Granted | 307.1 | Buildings
2026 | Seeking Planning | 68.9 | Buildings
2026 | Built | 107 | MW
2026 | Under Construction | 8 | MW
2026 | Planning Granted | 12 | MW
2026 | Seeking Planning | 4 | MW
2027 | Built | 1320.7 | MVA
2027 | Under Construction | 187.6 | MVA
2027 | Planning Granted | 409.2 | MVA
2027 | Seeking Planning | 123.5 | MVA
2027 | Built | 1743.2 | Buildings
2027 | Under Construction | 231.9 | Buildings
2027 | Planning Granted | 536.4 | Buildings
2027 | Seeking Planning | 163.3 | Buildings
2027 | Built | 107 | MW
2027 | Under Construction | 9 | MW
2027 | Planning Granted | 19 | MW
2027 | Seeking Planning | 7 | MW
2028 | Built | 1320.7 | MVA
2028 | Under Construction | 187.6 | MVA
2028 | Planning Granted | 607.6 | MVA
2028 | Seeking Planning | 231.6 | MVA
2028 | Built | 1743.2 | Buildings
2028 | Under Construction | 246.2 | Buildings
2028 | Planning Granted | 795 | Buildings
2028 | Seeking Planning | 306.5 | Buildings
2028 | Built | 107 | MW
2028 | Under Construction | 9 | MW
2028 | Planning Granted | 27 | MW
2028 | Seeking Planning | 12 | MW
2029 | Built | 1320.7 | MVA
2029 | Under Construction | 187.6 | MVA
2029 | Planning Granted | 726.9 | MVA
2029 | Seeking Planning | 317.6 | MVA
2029 | Built | 1743.2 | Buildings
2029 | Under Construction | 246.2 | Buildings
2029 | Planning Granted | 952.2 | Buildings
2029 | Seeking Planning | 421 | Buildings
2029 | Built | 107 | MW
2029 | Under Construction | 9 | MW
2029 | Planning Granted | 31 | MW
2029 | Seeking Planning | 16 | MW
2030 | Built | 1320.7 | MVA
2030 | Under Construction | 187.6 | MVA
2030 | Planning Granted | 873.8 | MVA
2030 | Seeking Planning | 409.7 | MVA
2030 | Built | 1743.2 | Buildings
2030 | Under Construction | 246.2 | Buildings
2030 | Planning Granted | 1142.3 | Buildings
2030 | Seeking Planning | 540.8 | Buildings
2030 | Built | 107 | MW
2030 | Under Construction | 9 | MW
2030 | Planning Granted | 37 | MW
2030 | Seeking Planning | 20 | MW
2031 | Built | 1320.7 | MVA
2031 | Under Construction | 187.6 | MVA
2031 | Planning Granted | 975.3 | MVA
2031 | Seeking Planning | 445.7 | MVA
2031 | Built | 1743.2 | Buildings
2031 | Under Construction | 246.2 | Buildings
2031 | Planning Granted | 1274.2 | Buildings
2031 | Seeking Planning | 590.2 | Buildings
2031 | Built | 107 | MW
2031 | Under Construction | 9 | MW
2031 | Planning Granted | 41 | MW
2031 | Seeking Planning | 22 | MW
2032 | Built | 1320.7 | MVA
2032 | Under Construction | 187.6 | MVA
2032 | Planning Granted | 975.3 | MVA
2032 | Seeking Planning | 537.8 | MVA
2032 | Built | 1743.2 | Buildings
2032 | Under Construction | 246.2 | Buildings
2032 | Planning Granted | 1274.2 | Buildings
2032 | Seeking Planning | 712.6 | Buildings
2032 | Built | 107 | MW
2032 | Under Construction | 9 | MW
2032 | Planning Granted | 41 | MW
2032 | Seeking Planning | 26 | MW

## BitPower Annual Additions
Year | Data Centre Measure | Value | Unit
2019 | Built | 89.4 | MW
2019 | Under Construction |  | MW
2019 | Planning Granted |  | MW
2019 | Seeking Planning |  | MW
2019 | Built | 117.9 | MVA
2019 | Under Construction |  | MVA
2019 | Planning Granted |  | MVA
2019 | Seeking Planning |  | MVA
2019 | Built | 5 | Buildings
2019 | Under Construction |  | Buildings
2019 | Planning Granted |  | Buildings
2019 | Seeking Planning |  | Buildings
2020 | Built | 111.1 | MW
2020 | Under Construction |  | MW
2020 | Planning Granted |  | MW
2020 | Seeking Planning |  | MW
2020 | Built | 148.5 | MVA
2020 | Under Construction |  | MVA
2020 | Planning Granted |  | MVA
2020 | Seeking Planning |  | MVA
2020 | Built | 5 | Buildings
2020 | Under Construction |  | Buildings
2020 | Planning Granted |  | Buildings
2020 | Seeking Planning |  | Buildings
2021 | Built | 120 | MW
2021 | Under Construction |  | MW
2021 | Planning Granted |  | MW
2021 | Seeking Planning |  | MW
2021 | Built | 160.4 | MVA
2021 | Under Construction |  | MVA
2021 | Planning Granted |  | MVA
2021 | Seeking Planning |  | MVA
2021 | Built | 5 | Buildings
2021 | Under Construction |  | Buildings
2021 | Planning Granted |  | Buildings
2021 | Seeking Planning |  | Buildings
2021 | Built | 158.1 | MW
2021 | Under Construction |  | MW
2021 | Planning Granted |  | MW
2021 | Seeking Planning |  | MW
2022 | Built | 209.2 | MVA
2022 | Under Construction |  | MVA
2022 | Planning Granted |  | MVA
2022 | Seeking Planning |  | MVA
2022 | Built | 8 | Buildings
2022 | Under Construction |  | Buildings
2022 | Planning Granted |  | Buildings
2022 | Seeking Planning |  | Buildings
2022 | Built |  | MW
2022 | Under Construction |  | MW
2022 | Planning Granted |  | MW
2022 | Seeking Planning |  | MW
2023 | Built | 135.8 | MVA
2023 | Under Construction | 7.7 | MVA
2023 | Planning Granted |  | MVA
2023 | Seeking Planning |  | MVA
2023 | Built | 179.7 | Buildings
2023 | Under Construction | 10 | Buildings
2023 | Planning Granted |  | Buildings
2023 | Seeking Planning |  | Buildings
2023 | Built | 7 | MW
2023 | Under Construction | 1 | MW
2023 | Planning Granted |  | MW
2023 | Seeking Planning |  | MW
2024 | Built | 82.6 | MVA
2024 | Under Construction | 35.6 | MVA
2024 | Planning Granted | 13.9 | MVA
2024 | Seeking Planning |  | MVA
2024 | Built | 107.4 | Buildings
2024 | Under Construction | 48 | Buildings
2024 | Planning Granted | 18.1 | Buildings
2024 | Seeking Planning |  | Buildings
2024 | Built | 6 | MW
2024 | Under Construction | 1 | MW
2024 | Planning Granted | 2 | MW
2024 | Seeking Planning |  | MW
2025 | Built | 16 | MVA
2025 | Under Construction | 103.9 | MVA
2025 | Planning Granted | 81.5 | MVA
2025 | Seeking Planning |  | MVA
2025 | Built | 20.8 | Buildings
2025 | Under Construction | 135.6 | Buildings
2025 | Planning Granted | 107.8 | Buildings
2025 | Seeking Planning |  | Buildings
2025 | Built | 1 | MW
2025 | Under Construction | 4 | MW
2025 | Planning Granted | 3 | MW
2025 | Seeking Planning |  | MW
2026 | Built | 29.5 | MVA
2026 | Under Construction | 137.8 | MVA
2026 | Planning Granted | 51.6 | MVA
2026 | Seeking Planning |  | MVA
2026 | Built | 38.3 | Buildings
2026 | Under Construction | 181.3 | Buildings
2026 | Planning Granted | 68.9 | Buildings
2026 | Seeking Planning |  | Buildings
2026 | Built | 2 | MW
2026 | Under Construction | 7 | MW
2026 | Planning Granted | 4 | MW
2026 | Seeking Planning |  | MW
2027 | Built |  | MVA
2027 | Under Construction | 176 | MVA
2027 | Planning Granted | 71.9 | MVA
2027 | Seeking Planning |  | MVA
2027 | Built |  | Buildings
2027 | Under Construction | 229.3 | Buildings
2027 | Planning Granted | 94.4 | Buildings
2027 | Seeking Planning |  | Buildings
2027 | Built |  | MW
2027 | Under Construction | 7 | MW
2027 | Planning Granted | 3 | MW
2027 | Seeking Planning |  | MW
2028 | Built |  | MVA
2028 | Under Construction | 11 | MVA
2028 | Planning Granted | 198.4 | MVA
2028 | Seeking Planning | 108.1 | MVA
2028 | Built |  | Buildings
2028 | Under Construction | 14.3 | Buildings
2028 | Planning Granted | 258.6 | Buildings
2028 | Seeking Planning | 143.2 | Buildings
2028 | Built |  | MW
2028 | Under Construction | 1 | MW
2028 | Planning Granted | 8 | MW
2028 | Seeking Planning | 5 | MW
2029 | Built |  | MVA
2029 | Under Construction |  | MVA
2029 | Planning Granted | 119.3 | MVA
2029 | Seeking Planning | 86 | MVA
2029 | Built |  | Buildings
2029 | Under Construction |  | Buildings
2029 | Planning Granted | 157.2 | Buildings
2029 | Seeking Planning | 114.5 | Buildings
2029 | Built |  | MW
2029 | Under Construction |  | MW
2029 | Planning Granted | 4 | MW
2029 | Seeking Planning | 4 | MW
2030 | Built |  | MVA
2030 | Under Construction |  | MVA
2030 | Planning Granted | 146.9 | MVA
2030 | Seeking Planning | 92.1 | MVA
2030 | Built |  | Buildings
2030 | Under Construction |  | Buildings
2030 | Planning Granted | 190.1 | Buildings
2030 | Seeking Planning | 119.8 | Buildings
2030 | Built |  | MW
2030 | Under Construction |  | MW
2030 | Planning Granted | 6 | MW
2030 | Seeking Planning | 4 | MW
2031 | Built |  | MVA
2031 | Under Construction |  | MVA
2031 | Planning Granted | 101.5 | MVA
2031 | Seeking Planning | 35.9 | MVA
2031 | Built |  | Buildings
2031 | Under Construction |  | Buildings
2031 | Planning Granted | 131.9 | Buildings
2031 | Seeking Planning | 49.4 | Buildings
2031 | Built |  | MW
2031 | Under Construction |  | MW
2031 | Planning Granted | 4 | MW
2031 | Seeking Planning | 2 | MW
2032 | Built |  | MVA
2032 | Under Construction |  | MVA
2032 | Planning Granted |  | MVA
2032 | Seeking Planning | 92.1 | MVA
2032 | Built |  | Buildings
2032 | Under Construction |  | Buildings
2032 | Planning Granted |  | Buildings
2032 | Seeking Planning | 122.4 | Buildings
2032 | Built |  | MW
2032 | Under Construction |  | MW
2032 | Planning Granted |  | MW
2032 | Seeking Planning | 4 | MW

## KPMG Report P50
Year | Data centre pipeline (MW) | Value | Unit
2025 | Approved grid connection | 300 | MW
2025 | Developed pipeline | 500 | MW
2025 | Early stage development pipeline | 900 | MW

## KPMG Report P118
Year | Data centre scenario utilisation | Value | Unit
2030 | Baseline S1 - 75% | 11.6 | TWh
2030 | Steady-state S1 - 75% | 11.6 | TWh
2030 | FLAP S1 - 70% | 10.8 | TWh
2030 | Baseline S2 - 70% | 10.8 | TWh
2030 | Steady-state S2 - 70% | 10.8 | TWh
2030 | Baseline S2 - 65% | 10 | TWh
2040 | Steady-state S1 - 75% | 11.6 | TWh
2040 | FLAP S1 - 75% | 15.8 | TWh
2040 | Baseline S1 - 70% | 23.9 | TWh
2040 | Steady-state S2 - 70% | 10.8 | TWh
2040 | FLAP S2 - 70% | 14.7 | TWh
2040 | Baseline S2 - 65% | 22.2 | TWh

## EU Report P86 T25
Year | Measure | Austria | Belgium | Bulgaria | Germany | Denmark | Greece | Spain | Finland | France | Croatia | Hungary | Ireland | Italy | Lithuania | Luxembourg | Latvia | Malta | Netherlands | Poland | Portugal | Sweden | Unit
2025 | Average PUE | 1.5 | 1.15 | 1.46 | 1.39 | 1.21 | 1.63 | 1.66 | 1.17 | 1.55 | 1.38 | 2 | 1.18 | 1.46 | 1.28 | 1.37 | 1.4 | 1.4 | 1.39 | 1.55 | 1.58 | 1.17 | PUE
2025 | Average PUE Colocation | 1.44 | 1.88 |  | 1.38 |  | 1.77 | 1.67 | 1.22 | 1.48 |  |  | 1.28 | 1.41 |  |  |  |  | 1.39 |  |  |  | PUE
2025 | Average PUE Cohosting |  |  |  | 1.25 |  |  |  | 1.12 | [13 empty] | PUE
2025 | Average PUE Enterprise |  | 1.12 |  | 1.48 | 1.53 |  | 1.66 | 1.13 | 1.71 |  |  | 1.15 | 1.53 |  |  |  |  | 1.32 |  |  |  | PUE
2025 | Average PUE 100-500kW |  |  |  | 1.65 |  |  | 1.87 |  | 1.63 | [8 empty] | 1.4 | 1.63 |  |  | kW
2025 | Average PUE 500-1000kW | 1.46 | 1.44 |  | 1.61 | 2.01 |  | 1.59 |  | 1.93 | [8 empty] | 1.24 | 1.69 |  |  | kW
2025 | Average PUE 1-2MW |  | 1.6 |  | 1.4 |  |  | 1.52 | 1.19 | 2.09 |  |  | 1.65 | 1.63 |  |  |  |  | 1.39 | 1.56 |  |  | MW
2025 | Average PUE 2-10MW |  | 1.86 |  | 1.41 | 1.46 |  | 1.8 | 1.25 | 1.54 |  |  | 1.28 | 1.38 |  |  |  |  | 1.44 | 1.41 |  |  | MW
2025 | Average PUE above10MW |  |  |  | 1.32 |  |  |  |  | 1.33 |  |  | 1.14 | 1.38 | [8 empty] | MW

## EU Report P87 T26
Year | Measure | Austria | Belgium | Bulgaria | Germany | Denmark | Greece | Spain | Finland | France | Croatia | Hungary | Ireland | Italy | Lithuania | Luxembourg | Latvia | Malta | Netherlands | Poland | Portugal | Sweden | Unit
2025 | Average WUE | 0.14 | 1.28 | 0.32 | 0.65 | 0.57 | 0.2 | 0.7 | 0.07 | 0.25 | 0.05 |  | 0.64 | 0.7 |  | 0.32 | 0.01 |  | 0.66 | 0.21 | 0.98 | 0.1 | WUE
2025 | Average WUE Colocation |  | 0.037 |  | 0.707 |  | 0.306 | 1.005 | 0.054 | 0.264 |  |  | 1.045 | 0.689 |  |  |  |  | 0.641 |  |  |  | WUE
2025 | Average WUE Cohosting |  |  |  | 0.173 | [17 empty] | WUE
2025 | Average WUE Enterprise |  | 1.334 |  | 0.939 | 1.565 |  | 0.847 |  | 0.278 |  |  | 0.51 | [9 empty] | WUE
2025 | Average WUE 100-500kW |  |  |  | 0.257 |  |  | 0.138 |  | 0.037 | [8 empty] | 0.081 | 0.232 |  |  | kW
2025 | Average WUE 500-1000kW | 0.501 | 0.038 |  | 0.669 | 0.233 |  | 1.262 |  | 0.433 | [8 empty] | 0.036 | 0.058 |  |  | kW
2025 | Average WUE 1-2MW |  | 0.035 |  | 0.374 |  |  | 0.183 | 0.021 | 0.169 |  |  | 2.004 | 0.302 |  |  |  |  | 0.641 | 0.028 |  |  | MW
2025 | Average WUE 2-10MW |  | 0.084 |  | 0.662 | 0.239 |  | 0.454 | 0.057 | 0.204 |  |  | 1.286 | 0.508 |  |  |  |  | 0.898 | 0.428 |  |  | MW
2025 | Average WUE above10MW |  |  |  | 0.758 |  |  |  |  | 0.341 |  |  | 0.515 | 1.6 | [8 empty] | MW

## KPMG Report P36
Year | City | Value | Unit
2025 | Frankfurt | 910 | MW
2025 | London | 1450 | MW
2025 | Amsterdam | 1000 | MW
2025 | Paris | 890 | MW
2025 | Dublin | 1530 | MW

## KPMG International Case Studies
Year | Measure | Denmark | Netherlands | Singapore | Spain | Sweden | United Kingdom | Unit
2025 | Current Capacity | 258 | 1112 | 1020 | 473 | 548 | 1615 | MW
2025 | Under Construction | 89 | 203 | 40 | 117 | 239 | 252 | MW
2025 | Committed | 241 | 415 | 490 | 902 | 377 | 2081 | MW
2025 | Early Stage Development | 672 | 207 | 90 | 4442 | 1118 | 2726 | MW
2025 | Total | 1260 | 1937 | 1540 | 5934 | 2282 | 6674 | MW

## KPMG FLAPD Markets
Year | Measure | Dublin | London | Frankfurt | Amsterdam | Paris | Unit
2025 | In Operation (MW) | 1150 | 1189 | 742 | 851 | 523 | MW
2025 | Under Construction (MW) | 235 | 272 | 212 | 124 | 208 | MW
2025 | Planned (MW) | 666 | 1406 | 1246 | 319 | 698 | MW

## EU Report P28 T15
Year | Measure | Austria | Belgium | Bulgaria | Croatia | Cyprus | Czechia | Denmark | Estonia | Finland | France | Germany | Greece | Hungary | Ireland | Italy | Latvia | Lithuania | Luxembourg | Malta | Netherlands | Poland | Portugal | Romania | Slovakia | Slovenia | Spain | Sweden | Unit
2025 | Data centre size 100-500kW | 2 | 2 | 0 | 0 | 0 | 0 | 1 | 0 | 1 | 17 | 57 | 2 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 10 | 5 | 0 | 0 | 0 | 0 | 3 | 0 | kW
2025 | Data centre size 500-1000kW | 4 | 4 | 1 | 1 | 0 | 0 | 6 | 0 | 2 | 13 | 64 | 2 | 1 | 1 | 2 | 1 | 2 | 0 | 1 | 16 | 9 | 1 | 0 | 0 | 0 | 9 | 0 | kW
2025 | Data centre size 1-2MW | 2 | 3 | 1 | 0 | 0 | 0 | 2 | 0 | 12 | 22 | 103 | 0 | 0 | 3 | 8 | 0 | 1 | 1 | 0 | 9 | 10 | 2 | 0 | 0 | 0 | 6 | 0 | MW
2025 | Data centre size 2-10MW | 2 | 5 | 1 | 0 | 0 | 0 | 6 | 0 | 8 | 56 | 75 | 0 | 0 | 10 | 8 | 0 | 0 | 0 | 0 | 18 | 8 | 1 | 0 | 0 | 0 | 17 | 2 | MW
2025 | Data centre size above10MW | 0 | 1 | 0 | 0 | 0 | 0 | 2 | 0 | 2 | 16 | 22 | 0 | 0 | 4 | 3 | 0 | 0 | 1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 1 | 2 | MW
2025 | Total Reporting | 11 | 16 | 3 | 1 | 0 | 0 | 17 | 0 | 25 | 133 | 335 | 6 | 1 | 18 | 23 | 1 | 3 | 2 | 1 | 85 | 36 | 4 | 0 | 0 | 0 | 42 | 7 | MW

## EU Report P30 T16
Year | Indicators | Valid | Invalid | Unit
2025 | Data centre type | 0.931 | 0.069 | %
2025 | Year of entry into operation of the Data Centre | 1 | 0 | %
2025 | Installed IT power demand | 0.923 | 0.077 | %
2025 | Data Centre Computer room floor area | 0.986 | 0.014 | %
2025 | Total energy consumption | 0.969 | 0.031 | %
2025 | Total energy consumption from back-up generators | 0.792 | 0.208 | %
2025 | Total consumption of IT equipment | 0.94 | 0.06 | %
2025 | Total water input | 0.904 | 0.096 | %
2025 | Average waste heat tempature | 0.921 | 0.079 | %
2025 | Waste heat reused | 0.745 | 0.255 | %
2025 | Cooling degree days | 0.833 | 0.167 | %
2025 | Total renewable energy consumption | 0.929 | 0.071 | %
2025 | Total renewable energy consumption guarantees of origin | 0.917 | 0.083 | %
2025 | Total renewable energy consumption from Power Purchasing Agreements | 0.844 | 0.156 | %
2025 | Total renewable energy consumption from on-site renewables | 0.858 | 0.142 | %

## EU Report P32 T18
Year | Measure | Value | Unit
2025 | Power density - Reliable | 0.896 | %
2025 | Power density - Potentially unreliable | 80 | %
2025 | Full load hours - Reliable | 0.762 | %
2025 | Full load hours - Potentially unreliable | 183 | %
2025 | PUE - Reliable | 0.879 | %
2025 | PUE - Potentially unreliable | 94 | %
2025 | WUE - Reliable | 0.947 | %
2025 | WUE - Potentially unreliable | 43 | %
2025 | Overall result - Reliable | 0.701 | %
2025 | Overall result - Potentially unreliable | 232 | %

## KPMG P87 (2025)
Data Centre Type | Enterprise | Retail Colocation | Small-scale Wholesale Colocation | Hyperscale | Unit
Total Annual Energy Usage | 70 | 418 | 349 | 6133 | GWh
Average Data Centre Building Size | 7500 | 26400 | 85600 | 305200 | sqft
Annual Water Consumption | 8 | 49 | 41 | 713 | Megalitres
Annual C02 Emissions | 20800 | 124500 | 104000 | 1800000 | Tonnes

## EirGrid RES KPI
Year | Measure | Value | Unit
2014 | Renewable Energy % Demand - Ireland | 0.22863 | %
2014 | Total System Demand GWh - Ireland | 25770.691 | GWh
2014 | System Peak Demand Level MW - Ireland | 4613.27 | MW
2015 | Renewable Energy % Demand - Ireland | 0.27319 | %
2015 | Total System Demand GWh - Ireland | 26575.624 | GWh
2015 | System Peak Demand Level MW - Ireland | 4703.96 | MW
2016 | Renewable Energy % Demand - Ireland | 0.25458 | %
2016 | Total System Demand GWh - Ireland | 27155.16 | GWh
2016 | System Peak Demand Level MW - Ireland | 4760.51 | MW
2017 | Renewable Energy % Demand - Ireland | 0.2961 | %
2017 | Total System Demand GWh - Ireland | 27742.043 | GWh
2017 | System Peak Demand Level MW - Ireland | 4939.61 | MW
2018 | Renewable Energy % Demand - Ireland | 0.33044 | %
2018 | Total System Demand GWh - Ireland | 28900.084 | GWh
2018 | System Peak Demand Level MW - Ireland | 4913.69 | MW
2019 | Renewable Energy % Demand - Ireland | 0.37617 | %
2019 | Total System Demand GWh - Ireland | 29082.8817 | GWh
2019 | System Peak Demand Level MW - Ireland | 5014.05 | MW
2020 | Renewable Energy % Demand - Ireland | 0.42297 | %
2020 | Total System Demand GWh - Ireland | 29330.5234 | GWh
2020 | System Peak Demand Level MW - Ireland | 5348.48 | MW
2021 | Renewable Energy % Demand - Ireland | 0.34996 | %
2021 | Total System Demand GWh - Ireland | 30920.6273 | GWh
2021 | System Peak Demand Level MW - Ireland | 5366.84 | MW
2022 | Renewable Energy % Demand - Ireland | 0.38604 | %
2022 | Total System Demand GWh - Ireland | 31621.5076 | GWh
2022 | System Peak Demand Level MW - Ireland | 5522.68 | MW
2023 | Renewable Energy % Demand - Ireland | 0.40686 | %
2023 | Total System Demand GWh - Ireland | 32500.6084 | GWh
2023 | System Peak Demand Level MW - Ireland | 5441.99 | MW
2024 | Renewable Energy % Demand - Ireland | 0.39684 | %
2024 | Total System Demand GWh - Ireland | 33718.7165 | GWh
2024 | System Peak Demand Level MW - Ireland | 5690.9 | MW
2025 | Renewable Energy % Demand - Ireland | 0.4074 | %
2025 | Total System Demand GWh - Ireland | 34609.6529 | GWh
2025 | System Peak Demand Level MW - Ireland | 6011.61 | MW
2026 | Renewable Energy % Demand - Ireland | 0.42717 | %
2026 | Total System Demand GWh - Ireland | 17874.087 | GWh
2026 | System Peak Demand Level MW - Ireland | 5899.27 | MW

## EirGrid CO2 Intensity
Year | CO2 Intensity (gCO2/kWh) | Unit
1990 | 896.3 | gCO2/kWh
1991 | 884.9 | gCO2/kWh
1992 | 887.3 | gCO2/kWh
1993 | 862.3 | gCO2/kWh
1994 | 855.1 | gCO2/kWh
1995 | 860.8 | gCO2/kWh
1996 | 854.3 | gCO2/kWh
1997 | 838.8 | gCO2/kWh
1998 | 823.1 | gCO2/kWh
1999 | 814.9 | gCO2/kWh
2000 | 770.6 | gCO2/kWh
2001 | 806.7 | gCO2/kWh
2002 | 742.9 | gCO2/kWh
2003 | 675.1 | gCO2/kWh
2004 | 638.2 | gCO2/kWh
2005 | 635.6 | gCO2/kWh
2006 | 596.2 | gCO2/kWh
2007 | 561 | gCO2/kWh
2008 | 547.9 | gCO2/kWh
2009 | 524.4 | gCO2/kWh
2010 | 529.9 | gCO2/kWh
2011 | 489.3 | gCO2/kWh
2012 | 532.3 | gCO2/kWh
2013 | 471.9 | gCO2/kWh
2014 | 460.7 | gCO2/kWh
2015 | 469.9 | gCO2/kWh
2016 | 485.8 | gCO2/kWh
2017 | 445.6 | gCO2/kWh
2018 | 384.2 | gCO2/kWh
2019 | 331.9 | gCO2/kWh
2020 | 307.5 | gCO2/kWh
2021 | 344.9 | gCO2/kWh
2022 | 329.9 | gCO2/kWh
2023 | 253.4 | gCO2/kWh
2024 | 223.7 | gCO2/kWh

## EU Report P89 T28
Year | Measure | Austria | Belgium | Bulgaria | Germany | Denmark | Greece | Spain | Finland | France | Croatia | Hungary | Ireland | Italy | Lithuania | Luxembourg | Latvia | Malta | Netherlands | Poland | Portugal | Sweden | Unit
2025 | Average REF | 0.58 | 0.96 | 1 | 0.89 | 0.96 | 1 | 0.94 | 1 | 0.8 | 0 | 0 | 0.99 | 0.8 | 0.81 | 0.25 | 0.84 | 0 | 0.79 | 0.59 | 0.36 | 0.5 | REF
2025 | Average REF Colocation |  | 1 |  | 0.912 |  | 1 | 0.999 | 0.999 | 0.989 |  |  | 0.983 | 0.999 |  |  |  |  | 0.939 |  |  |  | REF
2025 | Average REF Cohosting |  |  |  | 0.991 | [17 empty] | REF
2025 | Average REF Enterprise |  | 1 |  | 0.893 | 0.932 |  | 1 |  | 0.989 |  |  | 1 | [9 empty] | REF
2025 | Average REF 100-500kW |  |  |  | 0.847 | [17 empty] | kW
2025 | Average REF 500-1000kW |  |  |  | 0.959 | [17 empty] | kW
2025 | Average REF 1-2MW |  |  |  | 0.917 |  |  |  | 1 | [13 empty] | MW
2025 | Average REF 2-10MW |  |  |  | 0.97 |  |  |  | 0.997 | [9 empty] | 0.938 |  |  |  | MW
2025 | Average REF above10MW | [21 empty] | MW

## KMPG Report P30
Year | Measure | Value | Unit
2024 | Assumed renewable energy generation | 0.4 | %
2024 | Assumed renewable energy generation | 0.67 | %
2024 | Assumed renewable energy generation | 0.8 | %
2024 | Assumed renewable energy generation | 0.9 | %
2024 | Intensity (tCO2/GWh) | 204.3 | tCO2/GWh
2024 | Intensity (tCO2/GWh) | 112.4 | tCO2/GWh
2024 | Intensity (tCO2/GWh) | 68.1 | tCO2/GWh
2024 | Intensity (tCO2/GWh) | 34.1 | tCO2/GWh

## FOE - Fearon Report T2
Year | Measure | Value | Unit
2015 | Additional wholesale costs incurred by average household (€) | 23.63 | €
2015 | Estimated average household electricity bill (€) | 1367.32 | €
2015 | Additional data centre wholesale costs as share of average household bills (%) | 0.017 | %
2016 | Additional wholesale costs incurred by average household (€) | 6.67 | €
2016 | Estimated average household electricity bill (€) | 1251.5 | €
2016 | Additional data centre wholesale costs as share of average household bills (%) | 0.005 | %
2017 | Additional wholesale costs incurred by average household (€) | 7.72 | €
2017 | Estimated average household electricity bill (€) | 1238.62 | €
2017 | Additional data centre wholesale costs as share of average household bills (%) | 0.006 | %
2018 | Additional wholesale costs incurred by average household (€) | 14 | €
2018 | Estimated average household electricity bill (€) | 1275.89 | €
2018 | Additional data centre wholesale costs as share of average household bills (%) | 0.011 | %
2019 | Additional wholesale costs incurred by average household (€) | 21.54 | €
2019 | Estimated average household electricity bill (€) | 1214.08 | €
2019 | Additional data centre wholesale costs as share of average household bills (%) | 0.018 | %
2020 | Additional wholesale costs incurred by average household (€) | 23.26 | €
2020 | Estimated average household electricity bill (€) | 1296.64 | €
2020 | Additional data centre wholesale costs as share of average household bills (%) | 0.018 | %
2021 | Additional wholesale costs incurred by average household (€) | 66.82 | €
2021 | Estimated average household electricity bill (€) | 1425.09 | €
2021 | Additional data centre wholesale costs as share of average household bills (%) | 0.047 | %
2022 | Additional wholesale costs incurred by average household (€) | 130.16 | €
2022 | Estimated average household electricity bill (€) | 1527.74 | €
2022 | Additional data centre wholesale costs as share of average household bills (%) | 0.085 | %
2023 | Additional wholesale costs incurred by average household (€) | 66.44 | €
2023 | Estimated average household electricity bill (€) | 1809.82 | €
2023 | Additional data centre wholesale costs as share of average household bills (%) | 0.037 | %

## KPMG Report P100
Year | Metric | Value | Unit
2030 | S1 - Baseline | 1.4 | €bn
2030 | S2 - Steady State Growth | 1.4 | €bn
2030 | S3 - FLAP | 1.4 | €bn
2040 | S1 - Baseline | 1.4 | €bn
2040 | S2 - Steady State Growth | 2.6 | €bn
2040 | S3 - FLAP | 5.69 | €bn

## KPMG Report P101
Year | Metric | Value | Unit
2030 | S1 - Baseline | 9500 | FTE
2030 | S2 - Steady State Growth | 9500 | FTE
2030 | S3 - FLAP | 9500 | FTE
2040 | S1 - Baseline | 9500 | FTE
2040 | S2 - Steady State Growth | 20600 | FTE
2040 | S3 - FLAP | 50100 | FTE

## KPMG Report P5
Year | Measure | Value | Unit
2024 | Annual Gross Value Added | 104 | €bn
2024 | Employment | 876 | 000s Jobs
2024 | Employment Tax Related | 14.6 | €bn

## KPMG Report P62
Year | Measure | Impact Type | Value | Unit
2024 | GVA | Direct | 1.3 | €bn
2024 | GVA | Indirect | 0.6 | €bn
2024 | GVA | Induced | 0.4 | €bn
2024 | GVA | Total | 2.2 | €bn
2024 | Employement | Direct | 9.3 | 000s
2024 | Employement | Indirect | 5.7 | 000s
2024 | Employement | Induced | 4.5 | 000s
2024 | Employement | Total | 19.5 | 000s
2024 | Employement Related Tax Revenue | Income Tax | 0.12 | €bn
2024 | Employement Related Tax Revenue | Employer Tax | 0.1 | €bn
2024 | Employement Related Tax Revenue | USC | 0.02 | €bn
2024 | Employement Related Tax Revenue | PRSI | 0.04 | €bn
2024 | Employement Related Tax Revenue | Total | 0.28 | €bn

## KMPG Report P72 (Estimation)
Year | Sector | Scenario | ICT services | Financial and insurance activities | Human health and social work activities | Professional services | Wholesale and retail trade | Transportation and storage | Unit
2025 | Enabled GVA (€b) | S1 | 97.3 | 21 | 12 | 6.5 | 19.3 | 25.6 | €b
2025 | Enabled GVA (€b) | S2 | 40 | 12.9 | 11.3 | 4.4 | 17.3 | 18 | €b
2025 | Enabled GVA (€b) | S3 | 35.5 | 11.1 | 9.6 | 3.9 | 13.8 | 15.4 | €b
2025 | Enabled employment (000’s) | S1 | 227 | 153 | 213 | 188 | 188 | 275 | 000s
2025 | Enabled employment (000’s) | S2 | 93 | 94 | 201 | 126 | 168 | 193 | 000s
2025 | Enabled employment (000’s) | S3 | 83 | 81 | 170 | 111 | 135 | 166 | 000s
2025 | Enabled employment related tax revenue (€b) | S1 | 6.1 | 4.2 | 2.8 | 2.3 | 1.9 | 5.2 | €b
2025 | Enabled employment related tax revenue (€b) | S2 | 2.5 | 2.6 | 2.6 | 1.5 | 1.7 | 3.7 | €b
2025 | Enabled employment related tax revenue (€b) | S3 | 2.2 | 2.2 | 2.2 | 1.4 | 1.3 | 3.2 | €b

## FOE - Fearon Report T3
Year | 1st quintile | 2nd quintile | 3rd quintile | 4th quintile | 5th quintile | Gross data centre price effect (average) | Unit
2015 | 18.79 | 20.97 | 24.44 | 25.91 | 28.08 | 23.63 | €
2016 | 5.3 | 5.92 | 6.9 | 7.31 | 7.92 | 6.67 | €
2017 | 6.14 | 6.85 | 7.99 | 8.47 | 9.17 | 7.72 | €
2018 | 11.13 | 12.43 | 14.48 | 15.35 | 16.64 | 14 | €
2019 | 17.13 | 19.12 | 22.28 | 23.62 | 25.6 | 21.54 | €
2020 | 18.49 | 20.65 | 24.06 | 25.5 | 27.64 | 23.26 | €
2021 | 53.12 | 59.31 | 69.12 | 73.26 | 79.4 | 66.82 | €
2022 | 103.49 | 115.53 | 134.64 | 142.7 | 154.67 | 130.16 | €
2023 | 52.83 | 58.97 | 68.73 | 72.84 | 78.95 | 66.44 | €

## FOE - Fearon Report T7
Year | Scenario | Measure | Value | Unit
2025 | High Demand | EG | 13.08 | €/MWh
2025 | High Demand | WEM | 13.08 | €/MWh
2025 | High Demand | WAM | 13.08 | €/MWh
2025 | Median Demand | EG | 10.57 | €/MWh
2025 | Median Demand | WEM | 10.78 | €/MWh
2025 | Median Demand | WAM | 10.57 | €/MWh
2025 | Low Demand | EG | 8.77 | €/MWh
2025 | Low Demand | WEM | 8.94 | €/MWh
2025 | Low Demand | WAM | 8.77 | €/MWh
2026 | High Demand | EG | 14.9 | €/MWh
2026 | High Demand | WEM | 14.9 | €/MWh
2026 | High Demand | WAM | 14.4 | €/MWh
2026 | Median Demand | EG | 11.54 | €/MWh
2026 | Median Demand | WEM | 11.5 | €/MWh
2026 | Median Demand | WAM | 11.1 | €/MWh
2026 | Low Demand | EG | 9 | €/MWh
2026 | Low Demand | WEM | 8.97 | €/MWh
2026 | Low Demand | WAM | 8.66 | €/MWh
2027 | High Demand | EG | 16.52 | €/MWh
2027 | High Demand | WEM | 16.07 | €/MWh
2027 | High Demand | WAM | 15.26 | €/MWh
2027 | Median Demand | EG | 12.35 | €/MWh
2027 | Median Demand | WEM | 12.01 | €/MWh
2027 | Median Demand | WAM | 11.41 | €/MWh
2027 | Low Demand | EG | 9.22 | €/MWh
2027 | Low Demand | WEM | 8.97 | €/MWh
2027 | Low Demand | WAM | 8.52 | €/MWh
2028 | High Demand | EG | 17.57 | €/MWh
2028 | High Demand | WEM | 16.72 | €/MWh
2028 | High Demand | WAM | 15.64 | €/MWh
2028 | Median Demand | EG | 12.84 | €/MWh
2028 | Median Demand | WEM | 12.23 | €/MWh
2028 | Median Demand | WAM | 11.44 | €/MWh
2028 | Low Demand | EG | 9.3 | €/MWh
2028 | Low Demand | WEM | 8.86 | €/MWh
2028 | Low Demand | WAM | 8.29 | €/MWh
2029 | High Demand | EG | 18.47 | €/MWh
2029 | High Demand | WEM | 17.22 | €/MWh
2029 | High Demand | WAM | 15.87 | €/MWh
2029 | Median Demand | EG | 13.25 | €/MWh
2029 | Median Demand | WEM | 12.36 | €/MWh
2029 | Median Demand | WAM | 11.39 | €/MWh
2029 | Low Demand | EG | 9.37 | €/MWh
2029 | Low Demand | WEM | 8.74 | €/MWh
2029 | Low Demand | WAM | 8.06 | €/MWh
2030 | High Demand | EG | 16.17 | €/MWh
2030 | High Demand | WEM | 16.59 | €/MWh
2030 | High Demand | WAM | 15.06 | €/MWh
2030 | Median Demand | EG | 11.58 | €/MWh
2030 | Median Demand | WEM | 11.88 | €/MWh
2030 | Median Demand | WAM | 10.79 | €/MWh
2030 | Low Demand | EG | 8.02 | €/MWh
2030 | Low Demand | WEM | 8.22 | €/MWh
2030 | Low Demand | WAM | 7.47 | €/MWh
2031 | High Demand | EG | 15.53 | €/MWh
2031 | High Demand | WEM | 16.44 | €/MWh
2031 | High Demand | WAM | 14.7 | €/MWh
2031 | Median Demand | EG | 11.27 | €/MWh
2031 | Median Demand | WEM | 11.93 | €/MWh
2031 | Median Demand | WAM | 10.67 | €/MWh
2031 | Low Demand | EG | 7.65 | €/MWh
2031 | Low Demand | WEM | 8.09 | €/MWh
2031 | Low Demand | WAM | 7.24 | €/MWh
2032 | High Demand | EG | 14.76 | €/MWh
2032 | High Demand | WEM | 16.07 | €/MWh
2032 | High Demand | WAM | 14.16 | €/MWh
2032 | Median Demand | EG | 10.91 | €/MWh
2032 | Median Demand | WEM | 11.86 | €/MWh
2032 | Median Demand | WAM | 10.46 | €/MWh
2032 | Low Demand | EG | 7.29 | €/MWh
2032 | Low Demand | WEM | 7.92 | €/MWh
2032 | Low Demand | WAM | 6.99 | €/MWh
2033 | High Demand | EG | 14.05 | €/MWh
2033 | High Demand | WEM | 15.76 | €/MWh
2033 | High Demand | WAM | 13.69 | €/MWh
2033 | Median Demand | EG | 10.52 | €/MWh
2033 | Median Demand | WEM | 11.8 | €/MWh
2033 | Median Demand | WAM | 10.25 | €/MWh
2033 | Low Demand | EG | 6.95 | €/MWh
2033 | Low Demand | WEM | 7.79 | €/MWh
2033 | Low Demand | WAM | 6.78 | €/MWh
2034 | High Demand | EG | 13.28 | €/MWh
2034 | High Demand | WEM | 15.38 | €/MWh
2034 | High Demand | WAM | 13.18 | €/MWh
2034 | Median Demand | EG | 10.03 | €/MWh
2034 | Median Demand | WEM | 11.6 | €/MWh
2034 | Median Demand | WAM | 9.94 | €/MWh
2034 | Low Demand | EG | 6.6 | €/MWh
2034 | Low Demand | WEM | 7.63 | €/MWh
2034 | Low Demand | WAM | 6.54 | €/MWh

## FOE - Fearon Report T8
Year | Scenario | Measure | Value | Unit
2025 | High Demand | EG | 55.4 | €
2025 | High Demand | WEM | 56.49 | €
2025 | High Demand | WAM | 55.4 | €
2025 | Median Demand | EG | 43.08 | €
2025 | Median Demand | WEM | 43.93 | €
2025 | Median Demand | WAM | 43.08 | €
2025 | Low Demand | EG | 33.88 | €
2025 | Low Demand | WEM | 34.55 | €
2025 | Low Demand | WAM | 33.88 | €
2026 | High Demand | EG | 64.42 | €
2026 | High Demand | WEM | 64.15 | €
2026 | High Demand | WAM | 61.92 | €
2026 | Median Demand | EG | 46.99 | €
2026 | Median Demand | WEM | 46.79 | €
2026 | Median Demand | WAM | 45.16 | €
2026 | Low Demand | EG | 34.06 | €
2026 | Low Demand | WEM | 33.92 | €
2026 | Low Demand | WAM | 32.74 | €
2027 | High Demand | EG | 71.56 | €
2027 | High Demand | WEM | 69.59 | €
2027 | High Demand | WAM | 66.11 | €
2027 | Median Demand | EG | 50.18 | €
2027 | Median Demand | WEM | 48.8 | €
2027 | Median Demand | WAM | 46.37 | €
2027 | Low Demand | EG | 34.11 | €
2027 | Low Demand | WEM | 33.17 | €
2027 | Low Demand | WAM | 31.52 | €
2028 | High Demand | EG | 76.21 | €
2028 | High Demand | WEM | 72.55 | €
2028 | High Demand | WAM | 67.82 | €
2028 | Median Demand | EG | 51.87 | €
2028 | Median Demand | WEM | 49.41 | €
2028 | Median Demand | WAM | 46.23 | €
2028 | Low Demand | EG | 33.79 | €
2028 | Low Demand | WEM | 32.19 | €
2028 | Low Demand | WAM | 30.12 | €
2029 | High Demand | EG | 80.19 | €
2029 | High Demand | WEM | 74.79 | €
2029 | High Demand | WAM | 68.89 | €
2029 | Median Demand | EG | 53.21 | €
2029 | Median Demand | WEM | 49.64 | €
2029 | Median Demand | WAM | 45.74 | €
2029 | Low Demand | EG | 33.53 | €
2029 | Low Demand | WEM | 31.28 | €
2029 | Low Demand | WAM | 28.83 | €
2030 | High Demand | EG | 69.89 | €
2030 | High Demand | WEM | 71.7 | €
2030 | High Demand | WAM | 65.08 | €
2030 | Median Demand | EG | 46.23 | €
2030 | Median Demand | WEM | 47.43 | €
2030 | Median Demand | WAM | 43.07 | €
2030 | Low Demand | EG | 28.25 | €
2030 | Low Demand | WEM | 28.98 | €
2030 | Low Demand | WAM | 26.32 | €
2031 | High Demand | EG | 66.91 | €
2031 | High Demand | WEM | 70.81 | €
2031 | High Demand | WAM | 63.33 | €
2031 | Median Demand | EG | 44.89 | €
2031 | Median Demand | WEM | 47.5 | €
2031 | Median Demand | WAM | 42.49 | €
2031 | Low Demand | EG | 26.59 | €
2031 | Low Demand | WEM | 28.12 | €
2031 | Low Demand | WAM | 25.17 | €
2032 | High Demand | EG | 63.17 | €
2032 | High Demand | WEM | 68.76 | €
2032 | High Demand | WAM | 60.57 | €
2032 | Median Demand | EG | 43.29 | €
2032 | Median Demand | WEM | 47.08 | €
2032 | Median Demand | WAM | 41.52 | €
2032 | Low Demand | EG | 25.01 | €
2032 | Low Demand | WEM | 27.19 | €
2032 | Low Demand | WAM | 23.99 | €
2033 | High Demand | EG | 59.81 | €
2033 | High Demand | WEM | 67.11 | €
2033 | High Demand | WAM | 58.3 | €
2033 | Median Demand | EG | 41.62 | €
2033 | Median Demand | WEM | 46.68 | €
2033 | Median Demand | WAM | 40.57 | €
2033 | Low Demand | EG | 23.69 | €
2033 | Low Demand | WEM | 26.56 | €
2033 | Low Demand | WAM | 23.1 | €
2034 | High Demand | EG | 56.2 | €
2034 | High Demand | WEM | 65.07 | €
2034 | High Demand | WAM | 55.74 | €
2034 | Median Demand | EG | 39.54 | €
2034 | Median Demand | WEM | 45.76 | €
2034 | Median Demand | WAM | 39.21 | €
2034 | Low Demand | EG | 22.27 | €
2034 | Low Demand | WEM | 25.75 | €
2034 | Low Demand | WAM | 22.09 | €

## FOE - Fearon Report T10
Year | Comparative Scenario 1 | Comparative Scenario 2 | Annual difference | Unit
2025 | 36.1 | 59.8 | 23.7 | €
2026 | 35.5 | 69 | 33.5 | €
2027 | 34.7 | 76.1 | 41.3 | €
2028 | 33.8 | 80.7 | 46.9 | €
2029 | 32.8 | 84.4 | 51.5 | €
2030 | 57 | 132.3 | 75.3 | €
2031 | 41.3 | 107.9 | 66.6 | €
2032 | 28.7 | 81.2 | 52.5 | €
2033 | 28 | 80.3 | 52.3 | €
2034 | 27.2 | 78.9 | 51.8 | €

## BitPower Constru Inves Year
Year | Built or Expected | Planning Granted | Seeking Planning | Unit
2019 | 1358 |  |  | €m
2020 | 1615 |  |  | €m
2021 | 1901 |  |  | €m
2022 | 2043 |  |  | €m
2023 | 1779 | 14 |  | €m
2024 | 2217 | 14 |  | €m
2025 | 2215 | 359 | 211 | €m
2026 | 1661 | 900 | 454 | €m
2027 | 1680 | 1441 | 764 | €m
2028 | 1165 | 1263 | 1056 | €m
2029 | 939 | 953 | 932 | €m
2030 | 921 | 918 | 640 | €m
2031 | 562 | 328 | 668 | €m
2032 | 360 | 270 | 850 | €m

## BitPower Ener,Car,Pow Op(Esti)
Year | Operational Measure | National Estimate | Unit
2026 | Operational design capacity | 1743 | MW
2026 | Est. annual consumption | 8.4 | TWh
2026 | Est. CO₂ emissions | 2.13 | CO₂
2026 | CO₂/kWh grid intensity | 255 | CO₂/kWh

## BitPower SubReg Opera (2026)
Sub-region | Dublin SouthWest | Dublin NorthWest | Meath | Dublin NorthEast | Dublin (other) | Rest of Ireland | Unit
Buildings | 46 | 24 | 7 | 19 | 4 | 7 | Buildings
Operators | 10 | 12 | 3 | 7 |  |  | Operators
IT MW | 707 | 243 | 171 | 169 | 22 | 9 | MW
Design MVA | 931 | 319 | 231 | 221 | 29 | 11 | MVA

## CyrusOne 03 G1 (2024)
Measure | They improve the area by building on brownfield/unused land | They bring value to local communities by investing in community projects (parks, playgrounds, etc.) | They bring value to local communities through faster internet | They bring value to local communities through economic growth for the local area | They bring value to local communities through job opportunities
Agree (Net) | 42 | 49 | 59 | 62 | 66
Strongly Agree | 12 | 14 | 20 | 18 | 21
Somewhat Agree | 30 | 35 | 39 | 43 | 45
Niether Agree or Disagree | 41 | 38 | 31 | 29 | 26
Somewhat Disagree | 12 | 9 | 7 | 7 | 6
Strongly Disagree | 5 | 4 | 3 | 2 | 2
Disagree (NET) | 17 | 13 | 10 | 9 | 8

## CyrusOne 05 G1 (2024)
Measure | European Average | UK | France | Germany | Netherlands | Spain | Italy | Ireland | Unit
Positive (Net) | 51 | 40 | 47 | 55 | 36 | 68 | 60 | 50 | Value
Very positive | 14 | 12 | 11 | 16 | 8 | 24 | 15 | 14 | Value
Somewhat positive | 36 | 28 | 35 | 39 | 28 | 44 | 45 | 36 | Value
Neither positive or negative | 42 | 53 | 43 | 42 | 52 | 28 | 36 | 38 | Value
Somewhat negative | 5 | 5 | 8 | 3 | 9 | 3 | 3 | 9 | Value
Very negative | 2 | 2 | 2 | 1 | 3 | 1 | 1 | 3 | Value
Negative (Net) | 7 | 7 | 11 | 3 | 12 | 4 | 5 | 12 | Value

## CyrusOne 05 G2 (2024)
Measure | European Average | UK | France | Germany | Netherlands | Spain | Italy | Ireland
Yes (Net) | 64 | 60 | 59 | 78 | 38 | 75 | 72 | 69
Yes - I would be willing to have one anywhere in my local community | 32 | 29 | 24 | 45 | 13 | 39 | 39 | 34
Yes - I would be willing if it was not too close to where I live (e.g. I couldn't see or hear it) | 33 | 31 | 35 | 33 | 26 | 36 | 33 | 35
N/A - I already have a data centre in my local community and I have no issue with it | 4 | 1 | 4 | 3 | 9 | 3 | 4 | 3
No - I would not be willing | 13 | 12 | 18 | 8 | 27 | 8 | 7 | 12
N/A - I already have a data centre in my local community and I wish it wasn’t there | 1 | 0 | 0 | 1 | 1 | 1 | 0 | 1
Don’t know / unsure | 18 | 26 | 18 | 10 | 24 | 13 | 16 | 15

## CyrusOne 02 (2024)
Measure | European Average | UK | France | Germany | Netherlands | Spain | Italy | Ireland | Unit
A data centre is a building that stores the computing infrastructure that IT systems require, such as servers, data storage drives and network equipment. It is the physical facility that stores any company’s digital data | 52 | 38 | 43 | 62 | 60 | 53 | 50 | 60 | Value
A data centre is a place which allows access to files and services via the internet that are stored without the need for physical infrastructure | 22 | 18 | 29 | 16 | 18 | 26 | 25 | 18 | Value
A data centre is a place where people are employed to take customer service calls and store the resulting information | 6 | 7 | 10 | 8 | 6 | 8 | 8 | 7 | Value
A data centre is a building in which people develop computer software | 5 | 6 | 6 | 4 | 5 | 4 | 6 | 6 | Value
None of the above/I don’t know | 14 | 30 | 12 | 10 | 12 | 9 | 11 | 10 | Value

## CyrusOne 04 (2024)
Measure | They impact local communities negatively because of high energy usage | They are visually unappealing | They impact local communities negatively because of land use | They impact local communities negatively because of light pollution | They impact local communities negatively because of noise pollution | They impact local communities negatively because of electronic and toxic waste
Agree (Net) | 40 | 36 | 30 | 30 | 26 | 33
Strongly Agree | 12 | 11 | 9 | 8 | 8 | 9
Somewhat Agree | 28 | 25 | 22 | 21 | 18 | 24
Niether Agree or Disagree | 36 | 44 | 38 | 38 | 37 | 39
Somewhat Disagree | 17 | 14 | 22 | 22 | 25 | 20
Strongly Disagree | 7 | 6 | 10 | 11 | 12 | 9
Disagree (NET) | 23 | 20 | 31 | 32 | 37 | 29

## Beyond FF Slide n.31 (2025)
Metric | Strongly Agree | Agree | Disagree | Strongly Disagree | Don't Know | Unit
I would be concerned that the water demand they use would affect the surronding ecosystem | 30 | 45 | 14 | 4 | 7 | %
I would be concerned that the water demand they use would affect the water supply needs of other local industries | 25 | 47 | 15 | 5 | 8 | %
I would be concerned that the water demand they use would affect my water supply needs | 27 | 42 | 18 | 6 | 7 | %
I would be concerned about the water demand they use | 7 | 19 | 35 | 31 | 8 | %

## CyrusOne 06 (2024)
Measure | European Average | UK | France | Germany | Netherlands | Spain | Italy | Ireland | Unit
Amenities (e.g. landscaping plans and blodlverse spaces for public use: woodland walks, cycle paths, playgrounds. etc.) | 37 | 32 | 40 | 39 | 34 | 39 | 35 | 41 | Value
If they met sustainability targets | 34 | 27 | 31 | 33 | 33 | 44 | 34 | 37 | Value
If they increased local job opportunities | 40 | 26 | 34 | 41 | 31 | 53 | 43 | 46 | Value
If they provided business to the local economy | 35 | 30 | 28 | 41 | 28 | 44 | 38 | 40 | Value
N/A There is nothing in particular that would make me feel more positive towards data centres | 17 | 31 | 16 | 14 | 24 | 7 | 9 | 13 | Value
Other | 2 | 4 | 4 | 3 | 3 | 3 | 4 | 4 | Value

## CyrusOne 07 (2024)
Measure | European Average | UK | France | Germany | Netherlands | Spain | Italy | Ireland | Unit
N/A There is no particular reason why | 38 | 44 | 34 | 34 | 42 | 40 | 37 | 30 | Value
We don’t have the space for this | 17 | 14 | 19 | 15 | 23 | 18 | 16 | 14 | Value
I don’t think such amenities would ever get put in place | 25 | 23 | 29 | 24 | 16 | 30 | 27 | 32 | Value
I can’t imagine I would use these | 18 | 18 | 17 | 25 | 15 | 11 | 18 | 21 | Value
Others, please specify | 2 | 1 | 1 | 2 | 4 | 1 | 2 | 3 | Value

## Beyond FF Slide n.37 (2025)
Metric | Strongly Agree | Agree | Disagree | Strongly Disagree | Don't Know | Unit
New data centres should only be constructed if they will be powered by renewable energy sources | 36 | 40 | 11 | 5 | 8 | %
New data centres should not be constructed if they will be powered by fossil fuels | 25 | 29 | 23 | 8 | 15 | %
New data centres should constructed if they will be powered by fossil fuels | 5 | 16 | 33 | 31 | 15 | %
Potential energy sources are irrelevant when constructing new data centres | 6 | 18 | 34 | 27 | 15 | %

## Beyond FF Slide n.39 (2025)
Country | Ireland | UK | Spain | Switzerland | Germany | Unit
Support | 0.8 | 0.77 | 0.71 | 0.67 | 0.66 | %
Don’t Know | 0.1 | 0.12 | 0.13 | 0.13 | 0.16 | %
Oppose | 0.1 | 0.11 | 0.16 | 0.2 | 0.18 | %

## Beyond FF Slide n.52 (2025)
To what extent do you agree or disagree with the following statements: | Strongly Agree | Agree | Disagree | Strongly Disagree | Don't Know | Unit
Data centres should be financially contribute more to investment in the enrgy grid than households and small businesses | 0.43 | 0.41 | 0.07 | 0.02 | 0.07 | %
All major energy users should financially contribute more to investment in the energy grid than consumers | 0.38 | 0.45 | 0.08 | 0.02 | 0.07 | %
Government is the only one who should provide the investment in the enrgy grid | 0.11 | 0.24 | 0.41 | 0.14 | 0.1 | %

## Beyond FF Slide n.59 (2025)
Companies who operate or plan to operate data centres should: | Strongly Agree | Agree | Disagree | Strongly Disagree | Don't Know | Unit
They should be required to disclose environmental impact assessments (e.g. impact data on local communities) | 0.45 | 0.4 | 0.07 | 0.03 | 0.05 | %
They should be required to disclose verifiable data about what energy sources are used to power their sites | 0.43 | 0.4 | 0.08 | 0.03 | 0.06 | %
They should be required to disclose verifiable data about their total energy usage and future projections | 0.44 | 0.4 | 0.08 | 0.03 | 0.05 | %
They should be required to disclose who their clients are | 0.24 | 0.32 | 0.23 | 0.11 | 0.1 | %

## Beyond FF Slide n.45 (2025)
Metric | Strongly Agree | Agree | Disagree | Strongly Disagree | Don't Know | Unit
To what extent do you agree or disagree that the government should put specific criteria in place to determine energy distribution? | 0.25 | 0.48 | 0.11 | 0.03 | 0.13 | %

## Beyond FF Slide n.47 (2025)
In the event of an energy shortage, which of the following sectors should be prioritised when distributing this limited energy | Top Priority | 2nd/3rd | Unit
Public healthcare services | 0.39 | 0.3 | %
Agriculture / Food supply | 0.16 | 0.35 | %
Housing / Residential | 0.12 | 0.32 | %
National defence | 0.07 | 0.17 | %
General building infrastructure (e.g. heating and air conditioning) | 0.05 | 0.18 | %
Public educational and research institutions | 0.03 | 0.17 | %
Transport | 0.03 | 0.14 | %
Manufacturing | 0.03 | 0.11 | %
Data centres | 0.04 | 0.08 | %

## KPMG Report P91 (2026)
Measure | Enterprise | Retail Colocation | Small-scale wholesale Colocation | Hyperscale
On-site generation | YES | YES | YES | YES
Demand flexibility measures |  | YES | YES | YES
Purchase of CPPAs |  |  | YES | YES
Battery storage |  | YES |  | YES
Heat reuse / district heating |  |  | YES | YES
Closed-loop water cooling |  | YES | YES | YES
Air / liquid cooling | YES | YES | YES | YES
AI-driven cooling optimisation |  |  |  | YES
Passive cooling membranes |  | YES
Apprenticeship programmes |  | YES | YES | YES
Local sponsorship (e.g., sports clubs and communities) | YES | YES | YES | YES